## data
Author | Method | Setting | Days onset | Ab | Reference | Week | PCR+/Ab+ | PCR+/Ab- | PCR-/Ab+ | PCR-/Ab- | Sensitivity | Specificity | doi | database
Cassaniti | Lateral Flow Immunoassay | emergency room | median 7 days (interquartilerange, 4‐11) | IgG/M | PCR/clinical |  | 25 | 5 | 0 | 30 | 83.3333 | 100 | 10.1002/jmv.25800 | pubmed
Cassaniti | Lateral Flow Immunoassay | emergency room | median 7 days (interquartilerange, 4‐11) | IgG | PCR/clinical |  | 24 | 6 | 0 | 30 | 80 | 100 | 10.1002/jmv.25800 | pubmed
Cassaniti | Lateral Flow Immunoassay | emergency room | median 7 days (interquartilerange, 4‐11) | IgM | PCR/clinical |  | 25 | 5 | 0 | 30 | 83.3333 | 100 | 10.1002/jmv.25800 | pubmed
Chen | Lateral Flow Immunoassay | nr | nr | IgG | PCR |  | 7 | 0 | 1 | 11 | 100 | 91.6667 | 10.1021/acs.analchem.0c00784 | pubmed
Li | Lateral Flow Immunoassay | Hospitals/CDCs | 20.5 | IgG/M | PCR/clinical |  | 352 | 45 | 12 | 116 | 88.665 | 90.625 | 10.1002/jmv.25727 | pubmed
Li | Lateral Flow Immunoassay | Hospitals/CDCs | 20.5 | IgG | PCR/clinical |  | 280 | 117 | 2 | 126 | 70.529 | 98.4375 | 10.1002/jmv.25728 | pubmed
Li | Lateral Flow Immunoassay | Hospitals/CDCs | 20.5 | IgM | PCR/clinical |  | 328 | 69 | 11 | 117 | 82.6196 | 91.4062 | 10.1002/jmv.25729 | pubmed
Liu | Lateral Flow Immunoassay | Hospital | [0-7] | IgG/M | PCR | 1 | 3 | 13 | 2 | 7 | 18.75 | 77.7778 | 10.1101/2020.03.26.20044883 | medrxiv
Liu | Lateral Flow Immunoassay | Hospital | [0-7] | IgG | PCR |  | 2 | 14 | 2 | 7 | 12.5 | 77.7778 | 10.1101/2020.03.26.20044883 | medrxiv
Liu | Lateral Flow Immunoassay | Hospital | [0-7] | IgM | PCR |  | 3 | 13 | 1 | 8 | 18.75 | 88.8889 | 10.1101/2020.03.26.20044883 | medrxiv
Liu | Lateral Flow Immunoassay | Hospital | [8-15] | IgG/M | PCR | 2 | 6 | 0 | 1 | 1 | 100 | 50 | 10.1101/2020.03.26.20044883 | medrxiv
Liu | Lateral Flow Immunoassay | Hospital | [8-15] | IgG | PCR |  | 5 | 1 | 1 | 1 | 83.3333 | 50 | 10.1101/2020.03.26.20044883 | medrxiv
Liu | Lateral Flow Immunoassay | Hospital | [8-15] | IgM | PCR |  | 6 | 0 | 1 | 1 | 100 | 50 | 10.1101/2020.03.26.20044883 | medrxiv
Liu | Lateral Flow Immunoassay | Hospital | >=16 | IgG/M | PCR | 3 | 68 | 0 | 5 | 9 | 100 | 64.2857 | 10.1101/2020.03.26.20044883 | medrxiv
Liu | Lateral Flow Immunoassay | Hospital | >=16 | IgG | PCR |  | 68 | 0 | 4 | 10 | 100 | 71.4286 | 10.1101/2020.03.26.20044883 | medrxiv
Liu | Lateral Flow Immunoassay | Hospital | >=16 | IgM | PCR |  | 25 | 43 | 4 | 10 | 36.7647 | 71.4286 | 10.1101/2020.03.26.20044883 | medrxiv
Xiang | Lateral Flow Immunoassay | Hospital | nr | IgG/M | PCR/clinical |  | 75 | 16 | 0 | 35 | 82.4176 | 100 | 10.1101/2020.02.27.20028790 | medrxiv
Xiang | Lateral Flow Immunoassay | Hospital | nr | IgG | PCR/clinical |  | 74 | 17 | 0 | 35 | 81.3187 | 100 | 10.1101/2020.02.27.20028791 | medrxiv
Xiang | Lateral Flow Immunoassay | Hospital | nr | IgM | PCR/clinical |  | 52 | 39 | 0 | 35 | 57.1429 | 100 | 10.1101/2020.02.27.20028792 | medrxiv
Pan | Lateral Flow Immunoassay | Hospital | [1-7] | IgG/M | PCR/clinical | 1 | 3 | 24 | 4 | 5 | 11.1111 | 55.5556 | 10.1101/2020.03.13.20035428 | medrxiv
Pan | Lateral Flow Immunoassay | Hospital | [1-7] | IgG | PCR/clinical | 2 | 1 | 26 | 4 | 5 | 3.7037 | 55.5556 | 10.1101/2020.03.13.20035428 | medrxiv
Pan | Lateral Flow Immunoassay | Hospital | [1-7] | IgM | PCR/clinical | 3 | 3 | 24 | 2 | 7 | 11.1111 | 77.7778 | 10.1101/2020.03.13.20035428 | medrxiv
Pan | Lateral Flow Immunoassay | Hospital | [8-15] | IgG/M | PCR/clinical | 2 | 26 | 2 | 5 | 1 | 92.8571 | 16.6667 | 10.1101/2020.03.13.20035428 | medrxiv
Pan | Lateral Flow Immunoassay | Hospital | [8-15] | IgG | PCR/clinical |  | 16 | 12 | 4 | 2 | 57.1429 | 33.3333 | 10.1101/2020.03.13.20035428 | medrxiv
Pan | Lateral Flow Immunoassay | Hospital | [8-15] | IgM | PCR/clinical |  | 22 | 6 | 2 | 4 | 78.5714 | 66.6667 | 10.1101/2020.03.13.20035428 | medrxiv
Pan | Lateral Flow Immunoassay | Hospital | >=15 | IgG/M | PCR/clinical | 3 | 30 | 1 | 5 | 2 | 96.7742 | 28.5714 | 10.1101/2020.03.13.20035428 | medrxiv
Pan | Lateral Flow Immunoassay | Hospital | >=15 | IgG | PCR/clinical |  | 30 | 1 | 5 | 2 | 96.7742 | 28.5714 | 10.1101/2020.03.13.20035428 | medrxiv
Pan | Lateral Flow Immunoassay | Hospital | >=15 | IgM | PCR/clinical |  | 23 | 8 | 4 | 3 | 74.1935 | 42.8571 | 10.1101/2020.03.13.20035428 | medrxiv
Garcia | Lateral Flow Immunoassay | Hospital | [0-6] | IgG/M | PCR/clinical | 1 | 1 | 7 | 0 | 0 | 12.5 | #DIV/0! | 10.1101/2020.03.13.20035428 | medrxiv
Garcia | Lateral Flow Immunoassay | Hospital | [0-6] | IgG | PCR/clinical | 1 | 1 | 7 | 0 | 0 | 12.5 | #DIV/0! | 10.1101/2020.03.13.20035428 | medrxiv
Garcia | Lateral Flow Immunoassay | Hospital | [0-6] | IgM | PCR/clinical | 1 | 0 | 8 | 0 | 0 | 0 | #DIV/0! | 10.1101/2020.03.13.20035428 | medrxiv
Garcia | Lateral Flow Immunoassay | Hospital | [7-13] | IgG/M | PCR/clinical | 2 | 8 | 16 | 15 | 3 | 33.3333 | 16.6667 | 10.1101/2020.03.13.20035428 | medrxiv
Garcia | Lateral Flow Immunoassay | Hospital | [7-13] | IgG | PCR/clinical | 2 | 6 | 18 | 15 | 3 | 25 | 16.6667 | 10.1101/2020.03.13.20035428 | medrxiv
Garcia | Lateral Flow Immunoassay | Hospital | [7-13] | IgM | PCR/clinical | 2 | 3 | 21 | 7 | 11 | 12.5 | 61.1111 | 10.1101/2020.03.13.20035428 | medrxiv
Garcia | Lateral Flow Immunoassay | Hospital | >=14 | IgG/M | PCR/clinical | 3 | 17 | 6 | 41 | 4 | 73.913 | 8.8889 | 10.1101/2020.03.13.20035428 | medrxiv
Garcia | Lateral Flow Immunoassay | Hospital | >=14 | IgG | PCR/clinical | 3 | 16 | 7 | 41 | 4 | 69.5652 | 8.8889 | 10.1101/2020.03.13.20035428 | medrxiv
Garcia | Lateral Flow Immunoassay | Hospital | >=14 | IgM | PCR/clinical | 3 | 9 | 14 | 18 | 27 | 39.1304 | 60 | 10.1101/2020.03.13.20035428 | medrxiv
Paradiso | Lateral Flow Immunoassay | Hospital | 4.12 | IgG/M | PCR/clinical |  | 21 | 49 | 13 | 107 | 30 | 89.1667 | 10.1101/2020.04.03.20052183 | medrxiv
Long | Magnetic Chemiluminescence Enzyme Immunoassay | cohort close contacts | 20-30 days between PCR and IgG.M test | IgG/M | PCR |  | 16 | 0 | 7 | 141 | 100 | 95.2703 | 10.1101/2020.03.18.20038018 | medRxiv
Jia | Fluorescence immunochromatographic assay | Hospital, defined suspect cases | exposure between 1-34 days before PCR | IgM | 2*PCR |  | 19 | 5 | 20 | 13 | 79.1667 | 39.3939 | 10.1101/2020.02.28.20029025 | medRxiv
Jia | Fluorescence immunochromatographic assay | Hospital, defined suspect cases | exposure between 1-34 days before PCR | IgG | 2*PCR |  | 16 | 8 | 15 | 18 | 66.6667 | 54.5455 | 10.1101/2020.02.28.20029025 | medRxiv
Jia | Fluorescence immunochromatographic assay | Hospital, defined suspect cases | exposure between 1-34 days before PCR | IgG/M | 2*PCR |  | 21 | 3 | 24 | 9 | 87.5 | 27.2727 | 10.1101/2020.02.28.20029025 | medRxiv
Hu | Fluorescence immunochromatographic assay | not suitable as heat inactivation is assessed | [10 empty] | 10.1101/2020.03.12.20034231 | medRxiv
Zhang | Chemiluminescent Immunoassay | Fever clinic |  | IgG | 2*PCR |  | 3 | 0 | 1 | 224 | 100 | 99.5556 | 10.1101/2020.03.04.20030916 | medRxiv
Zhang | Chemiluminescent Immunoassay | Fever clinic |  | IgM | 2*PCR |  | 3 | 0 | 6 | 219 | 100 | 97.3333 | 10.1101/2020.03.04.20030916 | medRxiv
Jin | Chemiluminescent Immunoassay | Hospital, retrospective, patients and suspected | median 16d (IQR 9-20) in patients, 18d (IQR 9-20) | IgM | 2*PCR/d |  | 13 | 14 | 0 | 33 | 48.1481 | 100 | 10.1016/j.ijid.2020.03.065 | pubmed
Jin | Chemiluminescent Immunoassay | Hospital, retrospective, patients and suspected | median 16d (IQR 9-20) in patients, 18d (IQR 9-20) | IgG | 2*PCR/d |  | 24 | 3 | 3 | 30 | 88.8889 | 90.9091 | 10.1016/j.ijid.2020.03.065 | pubmed
Jin | Chemiluminescent Immunoassay | Hospital, retrospective, patients and suspected | median 16d (IQR 9-20) in patients, 18d (IQR 9-20) | IgG/M | 2*PCR/d |  | 24 | 3 | 3 | 30 | 88.8889 | 90.9091 | 10.1016/j.ijid.2020.03.065 | pubmed
Zhong | Chemiluminescent Immunoassay | not suitable as healthy controls were not tested by PCR | [10 empty] | 10.1007/s11427-020-1688-9 | pubmed
Lou | Chemiluminescent Immunoassay | not suitable as healthy controls were not tested by PCR | [10 empty] | 10.1101/2020.03.23.20041707 | medRxiv
Lou | ELISA | not suitable as healthy controls were not tested by PCR | [10 empty] | 10.1101/2020.03.23.20041707 | medRxiv
Lou | Lateral flow | not suitable as healthy controls were not tested by PCR | [10 empty] | 10.1101/2020.03.23.20041707 | medRxiv
Liu | ELISA | not suitable as healthy controls were not tested by PCR and we cannot infer from the PCR- of the suspect cases the cross-classified results | [10 empty] | https://doi.org/10.1101/2020.03.06.20031856 | medRxiv
Xiang | ELISA | not suitable as healthy controls were not tested by PCR and we cannot infer from the PCR- of the suspect cases the cross-classified results | [10 empty] | https://doi.org/10.1101/2020.02.27.20028787
Lin | ELISA | not suitable as healthy controls (or controls with other ifnections like TB) were not tested by PCR and we cannot infer from the PCR- of the suspect cases the cross-classified results | [10 empty] | https://doi.org/10.1101/2020.03.27.20045153
Okba | ELISA | not suitable only assesing sensitivity and small sample size | [10 empty] | https://doi.org/10.1101/2020.03.26.20042184
Zhao | ELISA | not suitable as healthy controls were not tested by PCR | [10 empty] | 10.1101/2020.03.26.20042184
Lou | ELISA | not suitable as healthy controls were not tested by PCR | [10 empty] | 10.1101/2020.03.23.20041707
Tan | ELISA | not suitable only assesing sensitivity | [10 empty] | 10.1101/2020.03.24.20042382
To | ELISA | not suitable only assesing sensitivity and small sample size | [10 empty] | https://doi.org/10.1016/S1473-3099(20)30196-1
Liu | ELISA | not suitable as healthy controls were not tested by PCR | [10 empty] | 0.1128/JCM.00461-20 | 0
Zhao | ELISA | not suitable only assesing sensitivity and we cannot get cross-classifeid results between PCR and ELISA between the confrimed cases | [10 empty] | 10.1093/cid/ciaa344
Guo | ELISA | using part of the data not sure if we should because PCR- are from supsect cases | 0-25 after symptom onset | IgM | PCR |  | 62 | 20 | 54 | 4 | 75.6098 | 6.8966 | 10.1093/cid/ciaa310 | pubmed
Zhong | ELISA | not suitable as healthy controls were not tested by PCR, not able to derive cross classifed results | [10 empty] | 10.1007/s11427-020-1688-9
Lassaunière | ELISA | not suitable as healthy controls were not tested by PCR | [10 empty] | https://doi.org/10.1101/2020.04.09.20056325
Zeng | ELISA | not suitable as healthy controls were not tested by PCR, not able to derive cross classifed results | [10 empty] | 10.1016/j.jinf.2020.03.052
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 1 to 5 | IgG/M | PCR |  | 11 | 16 | 9 | 43 | 40.7407 | 82.6923 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 6 to 10 | IgG/M | PCR |  | 29 | 7 | 9 | 43 | 80.5556 | 82.6923 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 11 to 15 | IgG/M | PCR |  | 31 | 4 | 9 | 43 | 88.5714 | 82.6923 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 16 to 20 | IgG/M | PCR |  | 17 | 4 | 9 | 43 | 80.9524 | 82.6923 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | >20 | IgG/M | PCR |  | 10 | 1 | 9 | 43 | 90.9091 | 82.6923 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 1 to 5 | IgM | PCR |  | 5 | 22 | 2 | 50 | 18.5185 | 96.1538 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 6 to 10 | IgM | PCR |  | 19 | 17 | 2 | 50 | 52.7778 | 96.1538 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 11 to 15 | IgM | PCR |  | 27 | 8 | 2 | 50 | 77.1429 | 96.1538 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 16 to 20 | IgM | PCR |  | 14 | 7 | 2 | 50 | 66.6667 | 96.1538 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | >20 | IgM | PCR |  | 9 | 2 | 2 | 50 | 81.8182 | 96.1538 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 1 to 5 | IgG | PCR |  | 11 | 16 | 8 | 44 | 40.7407 | 84.6154 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 6 to 10 | IgG | PCR |  | 28 | 8 | 8 | 44 | 77.7778 | 84.6154 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 11 to 15 | IgG | PCR |  | 31 | 4 | 8 | 44 | 88.5714 | 84.6154 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 16 to 20 | IgG | PCR |  | 16 | 5 | 8 | 44 | 76.1905 | 84.6154 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | ELISA | Results form the EPITOPE ELISA that had the higher youden index (based in adays 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | >20 | IgG | PCR |  | 10 | 1 | 8 | 44 | 90.9091 | 84.6154 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 1 to 5 | IgG/M | PCR | 1 | 12 | 15 | 14 | 38 | 44.4444 | 73.0769 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 6 to 10 | IgG/M | PCR | 2 | 28 | 8 | 14 | 38 | 77.7778 | 73.0769 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 11 to 15 | IgG/M | PCR |  | 28 | 7 | 14 | 38 | 80 | 73.0769 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 16 to 20 | IgG/M | PCR | 3 | 17 | 4 | 14 | 38 | 80.9524 | 73.0769 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | >20 | IgG/M | PCR |  | 10 | 1 | 14 | 38 | 90.9091 | 73.0769 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 1 to 5 | IgM | PCR |  | 12 | 15 | 14 | 38 | 44.4444 | 73.0769 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 6 to 10 | IgM | PCR |  | 28 | 8 | 14 | 38 | 77.7778 | 73.0769 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 11 to 15 | IgM | PCR |  | 28 | 7 | 14 | 38 | 80 | 73.0769 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 16 to 20 | IgM | PCR |  | 16 | 5 | 14 | 38 | 76.1905 | 73.0769 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | >20 | IgM | PCR |  | 10 | 1 | 14 | 38 | 90.9091 | 73.0769 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 1 to 5 | IgG | PCR |  | 6 | 21 | 7 | 45 | 22.2222 | 86.5385 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 6 to 10 | IgG | PCR |  | 18 | 18 | 7 | 45 | 50 | 86.5385 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 11 to 15 | IgG | PCR |  | 21 | 14 | 7 | 45 | 60 | 86.5385 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | 16 to 20 | IgG | PCR |  | 15 | 6 | 7 | 45 | 71.4286 | 86.5385 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
Whitman et al., 2020 | LFA | Results form the DeepBlue LFA that had the higher youden index (based in days 11-15) and Negative controls only the ones that were PCR negative (not healthy donors etc) | >20 | IgG | PCR |  | 9 | 2 | 7 | 45 | 81.8182 | 86.5385 | https://doi.org/10.1101/2020.04.25.20074856 | medRxiv
| 25 | 5 | 0 | 30
| 352 | 45 | 12 | 116 |  |  | 25 | 5 | 0 | 30
| 74 | 0 | 6 | 10 |  |  | 352 | 45 | 12 | 116
[7 empty] | 74 | 0 | 6 | 10
[7 empty] | 6 | 0 | 1 | 1
| 75 | 16 | 0 | 35 |  |  | 68 | 0 | 5 | 9
| 56 | 3 | 10 | 3 |  |  | 75 | 16 | 0 | 35
[7 empty] | 56 | 3 | 10 | 3
[7 empty] | 26 | 2 | 5 | 1
| 25 | 22 | 0 | 45 |  |  | 30 | 1 | 5 | 2
[7 empty] | 25 | 22 | 0 | 45
[7 empty] | 8 | 16 | 0 | 45
| 21 | 49 | 13 | 107 |  |  | 17 | 6 | 0 | 45
[7 empty] | 21 | 49 | 13 | 107
0.71429